## Repeatability
Repeatability, real samples
Hair THg, CVAAS
Sample | Result D1 (ng/g) | Result D2 (ng/g) | Mean value (D1+D2/2) | Difference (D1-D2) | Relative difference (D1-D2/mean)
Hair Hg-1 | 253.7785 | 253.7785 | 253.7785 | 0 | 0
Hair Hg-2 | 164.956 | 164.956 | 164.956 | 0 | 0
Hair Hg-3 | 145.473 | 155.8639 | 150.6685 | -10.3909 | -0.068966
Hair Hg-4 | 303.228 | 291.0988 | 297.1634 | 12.1291 | 0.040816
Hair Hg-5 | 93.9623 | 93.9623 | 93.9623 | 0 | 0
Hair Hg-6 | 620.6739 | 601.5762 | 611.125 | 19.0977 | 0.03125
Hair Hg-7 | 298.293 | 274.4295 | 286.3613 | 23.8634 | 0.083333
Hair Hg-8 | 531.0228 | 519.7244 | 525.3736 | 11.2984 | 0.021505
Hair Hg-9 | 665.9906 | 641.3243 | 653.6575 | 24.6663 | 0.037736
Hair Hg-10 | 298.2256 | 273.3734 | 285.7995 | 24.8521 | 0.086957
Hair Hg-11 | 324.9134 | 337.41 | 331.1617 | -12.4967 | -0.037736
Hair Hg-12 | 1534.1155 | 1516.277 | 1525.1963 | 17.8386 | 0.011696
Hair Hg-13 | 466.9524 | 507.557 | 487.2547 | -40.6046 | -0.083333
Hair Hg-14 | 273.0306 | 261.6544 | 267.3425 | 11.3763 | 0.042553
Hair Hg-15 | 111.2688 | 122.3957 | 116.8323 | -11.1269 | -0.095238
Hair Hg-16 | 573.76 | 553.2686 | 563.5143 | 20.4914 | 0.036364
Hair Hg-17 | 399.8934 | 428.4572 | 414.1753 | -28.5638 | -0.068966
|  |  |  | STDEV | 0.055436
|  |  |  | STDEV/sqrt(2) | 0.039199

## Repeatability-BLANK
Repeatability, real samples
Hair THg, CVAAS
Sample | Result D1 (ng/g) | Result D2 (ng/g) | Mean value (D1+D2/2) | Difference (D1-D2) | Relative difference (D1-D2/mean)
Hair Hg-1
Hair Hg-2
Hair Hg-3
Hair Hg-4
Hair Hg-5
Hair Hg-6
Hair Hg-7
Hair Hg-8
Hair Hg-9
Hair Hg-10
Hair Hg-11
Hair Hg-12
Hair Hg-13
Hair Hg-14
Hair Hg-15
Hair Hg-16
Hair Hg-17
|  |  |  | STDEV | #DIV/0!
|  |  |  | STDEV/sqrt(2) | #DIV/0!

## Recovery
Recovery using reference material data
Hair THg, CVAAS
Date | Mean value (ng/g) | Reference value (ng/g) | Recovery (%) | Certified reference material (CRM): | Human hair
19.4. | 561.13 | 573 | 97.9284 | Name CRM: | IAEA-086
23.5. | 619.7868 | 573 | 108.1652 | Element: | T-Hg
12.6. | 574.6238 | 573 | 100.2834 | Certified value: | 573
13.6. | 591.2145 | 573 | 103.1788 | Uncertainty of certified value : | 39
17.7. | 522.168 | 573 | 91.1288 | Unit of certified value: | ng/g
18.7. | 511.8788 | 573 | 89.3331
19.7. | 522.7876 | 573 | 91.2369
19.7. | 521.7986 | 573 | 91.0643
3.9. | 606.3089 | 573 | 105.8131
4.9. | 633.5946 | 573 | 110.575
17.9. | 602.4269 | 573 | 105.1356
18.10. | 562.4446 | 573 | 98.1579
23.10. | 567.438 | 573 | 99.0293
24.10. | 578.0123 | 573 | 100.8748
14.11. | 509.2886 | 573 | 88.8811
16.11. | 579.3683 | 573 | 101.1114
21.11. | 592.9265 | 573 | 103.4776
23.11. | 578.4938 | 573 | 100.9588
29.11. | 572.8073 | 573 | 99.9664
30.11. | 592.4038 | 573 | 103.3863
5.12. | 634.214 | 573 | 110.6831
6.12. | 594.9648 | 573 | 103.8333
18.12. | 586.9784 | 573 | 102.4395
Average | 574.6547 | 573
SD | 36.4361 | 19.5
Rm | 1.0029
n= | 23
u(Rm) = | 0.036337

## Combined uncertainty
Combined uncertainty
Hair THg, CVAAS
| Standard uncertainties | squared values
u(signal) | 0.0016 | 2.56e-06
u(VSTD) | 0.0094 | 8.836e-05
u(rep) | 0.039 | 0.001521
u(rec) | 0.036 | 0.001296
| sqrt(sum) | 0.053925
| expanded uncertainty | 0.10785